## Barrel Mgmt
Barrel Management & Wildfire Questionnaire
Please answer for each location with USD 1,000,000 average inventory or more, where barrels are stored
| Location: | Location: | Location: | Location: | Location: | Location: | Location: | Location: | Location: | Location:
How high are barrels stacked?
Are the top barrels strapped down?
Are 4 barrel racks used?
Are gorilla racks, oxoline racks, or other racks that enhance seismic stability used?
Are barrels stored in caves? What %?
Are barrels stacked pyramid style & chocked in place?

## Wildfire
Barrel Management & Wildfire Questionnaire
Please answer for each location with USD 1,000,000 average inventory or more, excluding bonded warehouses.
| Location: | Location: | Location: | Location: | Location: | Location: | Location: | Location: | Location: | Location:
Does Insured have a vegetation management plan? Who was consulted to develop it?
Details of the plan, and frequency of vegetation removal / tree pruning?
Are all trees pruned to minimum 5ft clearance of all buildings?
Are all trees within 30ft of buildings vertically limbed to minimum 6ft ground clearance?
Are all shrubs/ladder fuels removed within 30 ft of buildings?
Is all dead material including tree branches removed within 100 ft of buildings?
Are there any combstible materials within 5ft of buildings (e.g. decks, fences, mulches, trees, shrubs etc)? If so, what?
Any combustibles (e.g. pallets, bins), or flammable liquids stored within 50ft of buildings? If so, provide details.
Are there any decks, balconies etc. attached to bulidings? If so, what is construction / materials and do they comply with California Building Code?
Are decks enclosed on the underside? Are they kept clear of storage and vegetation underneath?
Are roof coverings Class A fire resisitive?
Are roof openings 'bird stopped' with noncombustible material?
Are all roof/wall vents screened with 1/8 inch mesh?
Are all gutters & down pipes noncombustible, with gutter covers?
How often are roofs & gutters cleared of debris?
Are roof eaves open or soffited / boxed?
Are walls constructed from or clad with noncombustible materials?
Is exterior glazing tempered, or have fire resistence rating of at least 20 mins (including skylights)?
Are openable fixtures (windows, doors etc) covered by screens?
Are exterior doors noncombustible or have fire resistance of at least 20 mins?
Is the property accessible from 2 or more roads suitable for an emergency vehicle?
Is there a knox box or similar on site?
No. of fire departments within 5 miles?
Has the fire deparment inspected the location within the last year? Have any recommendations made been complied with?
No. of hydrants within 250ft of building?
What additional water sources are on site? What volume of water do they hold?
What fire fighting equipment is held on site (e.g. hoses, mobile pumps, water trucks etc)?
Are there external / roof sprinklers on buildings?
Is fire retardant (e.g. Thermogel) held on site? If so, provide details.
Contract with private firefighting company? If so, provide details?
Is there an emergency back up generator to run fire pumps & preserve wine? Owned or leased? On site or deliverable by contract?
How many day's fuel is stored on site?